## Slide 1: Menhir Photonics
Towards high performance space-grade frequency-combs
ESA 4000138841/22NLGLCov
3/11/2023

## Slide 2: Gannt chart
Chart: 
| Analyze previous laser design to find possible sources of noise | Design a new laser based on the first task | Formulate requirements and design the f-to-2f component compatible with the improved MENHIR-1550 | Laser components production | Outsourcing and coordination of interferometer construction | Laser unit noise performance testing | Laser unit and f-to-2f assembly | Phase noise tests of the overall system | Analysis of results against the D2.1. | Kick-off meeting | Organize midterm review meeting after M2.1 is produced | Handle all closing documentation | Organize and coordinate the WPs | Produce dissemination materials (photo and video) | Development and design | Production | Integration and testing | Management
Start | 44774 | 44849 | 44880 | 44910 | 44958 | 45017 | 45108 | 45170 | 45231 | 44774 | 44928 | 45245 | 44774 | 45200
Blue | 93 | 48 | 78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Red | 0 | 0 | 0 | 108 | 135 | 92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Green | 0 | 0 | 0 | 0 | 0 | 0 | 63 | 62 | 55 | 0 | 0 | 0 | 0 | 0
Brown | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 30 | 47 | 518 | 92
Orange | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Purple | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Milestone 1 | 0.6 | 0.95
Milestone 2 | 0.4 | 0.95
Milestone 3 | 0.3 | 0.95
Milestone 4 | 0.3 | 0.95

## Slide 3: Schematic of the measurement
No | Description | Qnt | Item number | SN | SMF length, m
1 | Femtosecond laser | 2 | MENHIR-1550 | CU1 = SN4411001 CU2 = SN4411002 | 0.80
2 | 1/99 fiber splitter | 1 |  |  | 0.35
3 | Comb Offset Stabilization Module | 1 | COSMO for 250 MHz f_rep | COSMO-2022-12-05-001 | 0.50
4 | Power supply | 1 | GPS-3030DD |  | -
5 | RF spectrum analyser | 1 | DSA832E Spectrum analyser |  | -

## Slide 4: Experimental setup

## Slide 5: RF beat note and all other mixed tones in RF domain

## Slide 6: fCEO measurements
Chart: Pump current, mA
| 540 | 550 | 560 | 570 | 580 | 590 | 600 | 610 | 620 | 630 | 640 | 650 | 660
SNR | 32.97 | 35.36 | 37.74 | 38.19 | 39.53 | 40.94 | 41.61 | 40.97 | 42.13 | 41.37 | 42.64 | 41.92 | 41.96
Fceo | 367.5 | 345 | 325 | 304.17 | 280.83 | 264.17 | 268.33 | 315.83 | 188.33 | 157.5 | 136.67 | 118.33 | 102.5
Chart: Voltage on fast PZT, V
| 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90
SNR, dB | 39.62 | 40.05 | 40.07 | 41.69 | 40.1 | 39.82 | 37.84 | 35.46 | 39.76 | 39.37
Fceo | 281.69 | 279.14 | 276.33 | 273.6 | 271.06 | 268.42 | 265.97 | 263.61 | 261.43 | 259.61
Chart: Voltage on fast PZT, V
| 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100
SNR, dB | 39.81 | 39.95 | 39.26 | 37.71 | 39.89 | 40.02 | 39.34 | 38.38 | 39.82 | 38.64 | 39.86
Fceo | 324.66 | 312.77 | 299.95 | 287.6 | 276.16 | 266.78 | 260.6 | 255.34 | 251.67 | 249.16 | 247.56

## Slide 7: fCEO stability
Chart: Time, h
fCEO drift is due to temperature change:
- beam pointing inside the cavity is changing
- refractive index change as well

## Slide 8: Phase noise measurements
fCEO phase noise is very stable when changing the laser parameters.
- such frequency noise can be easily locked with pump current modulation.

## Slide 9: Project conclusions
In this project we have built a f-to2f stabilization setup, based on the low-noise 1 GHz MENHIR-1550 lasers. Main project achievement are:
Understanding and defining the fCEO frequency dependency on voltage and pump current, allowing for precise control and stability.
Long-term monitoring of fCEO frequency changes, with a primary source of variation attributed to temperature-induced refractive index and beam pointing adjustments within the cavity.
The results of the project will be used for improving the passive stability of MEN-1550 lasers throughout production, ensuring consistent fCEO positioning and system performance.